## Slide 1
SURVEILLANCE REPORT
Report at a glance · Genome_72
Run sapelo2_genome72_full · 1 sample · site sapelo2 · collected 2025-12-02 · execution mode · backend Gemma 4 E2B
QC passed
3.3M reads · Q34.9 · judged ADEQUATE (sensitive detection)
18 viral taxa detected
GOTTCHA2 · 3 phage / 4 pathogen-like / 11 flagged FP
Overall risk: High
High ×2 · several Medium · Critical 0
29 novel candidates
assembled contigs + RVDB homology → all divergent
Two High-risk detections (orthogonal RT-qPCR confirmation required)
SARS-related coronavirus High
37 reads · trend stable
respiratory Betacoronavirus, documented faecal shedding, public-health relevant
Norwalk virus (norovirus) High
24 reads · trend stable
leading cause of viral gastroenteritis, abundantly shed
Note: all results are DETECTED SEQUENCE SIGNALS, not confirmed infections; a single time point cannot establish a trend (all stable).

## Slide 2
FINDINGS & ACTIONS
Key findings, novel candidates & recommendations
Risk breakdown (overall High)
High: SARS-related coronavirus (37), Norwalk (24) — match the high-risk list
Medium: Human mastadenovirus F (64), HCoV-229E (16) — supported but not high-risk
Control: Pepper mild mottle virus (41) = normalization control, not a threat
Novel / divergent candidates: 29
Source: MEGAHIT contigs, CheckV High/Medium-quality filter
Novelty: blastx vs RVDB — best hits all < 64% → all divergent; 4 with no hit = suspected novel
Note: reads=0 (assembly-based, not read counts); need manual + phylogenetic review
Recommended actions
1. Confirm SARS-related coronavirus & Norwalk by RT-qPCR / amplicon
2. Manually curate the 29 novel candidates (CheckV + phylogenetics)
3. Integrate with clinical/syndromic data before any public-health action
Caveats & limitations
• Detected genetic material only — not confirmed infections/cases/outbreaks
• High-risk hits require orthogonal confirmation before action
• 11 false positives flagged; absence of signal ≠ absence of virus (DB-bound)
Report assembled deterministically by report_writer; the AI narrative is Gemma 4 E2B (advisory) — the deterministic risk assessment is authoritative.